## required frequency
Appendix B (Extract from Water Quality and Reporting Guideline for a Drinking Water Service)
This table explains the minimum requirements for routine testing for E. coli in a reticulation system of a drinking water service (based on requirements of schedule 3A of the Public Health Regulation).
Note: Appendix B is an example only. It is the responsibility of the provider to ensure all legislative requirements are met.
|  | Minimum number of routine samples required per year | Suggested minimum number of samples per week to evenly distribute the minimum number of samples over the year2 | Maximum number of failures allowed in a 12-month period to meet the 98% annual value (based on minimum number of routine samples)3
Reticulation drinking water system population1 | Minimum monitoring frequency as per the Public Health Regulation
1 000 or less | 1 sample per month | 12 | 1 sample per month | 0
1 000 to 5 000 | 1 sample per week | 52 | 1 | 1
5 001 to 10 000 | 1 sample per week plus additional 1 sample per month | 64 | 1 | 1
10 001 to 15 000 | 1 sample per week plus additional 2 samples per month | 76 | 1 | 1
15 001 to 20 000 | 1 sample per week plus additional 3 samples per month | 88 | 1 | 1
20 001 to 25 000 | 1 sample per week plus additional 4 samples per month | 100 | 1 | 2
25 001 to 30 000 | 1 sample per week plus additional 5 samples per month | 112 | 2 | 2
30 001 to 35 000 | 1 sample per week plus additional 6 samples per month | 124 | 2 | 2
35 001 to 40 000 | 1 sample per week plus additional 7 samples per month | 136 | 2 | 2
40 001 to 45 000 | 1 sample per week plus additional 8 samples per month | 148 | 2 | 3
45 001 to 50 000 | 1 sample per week plus additional 9 samples per month | 160 | 3 | 3
50 001 to 55 000 | 1 sample per week plus additional 10 samples per month | 172 | 3 | 3
55 001 to 60 000 | 1 sample per week plus additional 11 samples per month | 184 | 3 | 3
|  | Minimum number of routine samples required per year | Suggested minimum number of samples per week to evenly distribute the minimum number of samples over the year2 | Maximum number of failures allowed in a 12-month period to meet the 98% annual value (based on minimum number of routine samples)3
Reticulation drinking water system population1 | Minimum monitoring frequency as per the Public Health Regulation
60 001 to 65 000 | 1 sample per week plus additional 12 samples per month | 196 | 3 | 4
65 001 to 70 000 | 1 sample per week plus additional 13 samples per month | 208 | 4 | 4
70 001 to 75 000 | 1 sample per week plus additional 14 samples per month | 220 | 4 | 4
75 001 to 80 000 | 1 sample per week plus additional 15 samples per month | 232 | 4 | 4
80 001 to 85 000 | 1 sample per week plus additional 16 samples per month | 244 | 4 | 5
85 001 to 90 000 | 1 sample per week plus additional 17 samples per month | 256 | 4 | 5
90 001 to 95 000 | 1 sample per week plus additional 18 samples per month | 268 | 5 | 5
95 001 to 100 000 | 1 sample per week plus additional 19 samples per month | 280 | 5 | 5
100 001 to 110 000 | 6 samples per week plus additional 1 sample per month | 324 | 6 | 6
110 001 to 120 000 | 6 samples per week plus additional 2 samples per month | 336 | 6 | 6
120 001 to 130 000 | 6 samples per week plus additional 3 samples per month | 348 | 6 | 7
130 001 to 140 000 | 6 samples per week plus additional 4 samples per month | 360 | 7 | 7
Above 140 001 | 6 samples per week plus additional 1 sample per month for each additional 10 000 population increment above 100 000
1. Requirements apply to individual reticulation systems.
2. Some additional samples will be required to meet the total yearly number for most population groups.
3. A failure in the detection of E. coli in a sample. Annual compliance is based on routine samples only, not follow up samples when E. coli is detected.

## Year1
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2009 | to | 2010 | [5 empty] | Instructions:
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Step 1. Insert Drinking Water Scheme Name in Yellow box in 'Year 1' worksheet
No. of samples collected | [12 empty] | Step 2. Insert Starting Finantial Year (e.g. 2009)
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).
The shaded out area is not applicable if data is not available for the previous 12 months.
Samples of the drinking water must be taken at the frequency stated in sschedule 3A of the Public Health Regulation

## Year2
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2010 | to | 2011
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year3
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2011 | to | 2012
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year4
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2012 | to | 2013
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year5
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2013 | to | 2014
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year6
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2014 | to | 2015
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year7
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2015 | to | 2016
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year8
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2016 | to | 2017
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year9
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2017 | to | 2018
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year10
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2018 | to | 2019
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year11
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2019 | to | 2020
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year12
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2020 | to | 2021
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year13
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2021 | to | 2022
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year14
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2022 | to | 2023
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year15
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2023 | to | 2024
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year16
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2024 | to | 2025
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).

## Year17
Drinking water scheme: | Water Scheme Name
Year |  |  |  |  | 2025 | to | 2026
Month | July | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
No. of samples collected
No. of samples collected in which E. coli is detected (i.e. a failure)
No. of samples collected in previous 12 month period
No. of failures for previous 12 month period
% of samples that comply
Compliance with 98% annual value
CALCULATE PERCENTAGE USING A TWELVE (12) MONTH 'ROLLING' ANNUAL VALUE
The Public Health Regulation 2005 (the regulation) requires that 98 per cent of samples taken in a 12 month period should contain no E. Coli. This requirement is refered to as the 'annual value' in Schedule 3A of the regulation.
This requirement comes into effect once you have 12 months data and should be assessed every month based on the previous 12 months data (so that it is a 'rolling' assessment).