## Please read
Aspect | Notes
Purpose | This workbook has been designed to accompany the template to support development of a Water Security Statement (WSS).
This workbook has been designed to receive data from 2008/09 to 2020/21. Check user notes for guidance on how to update date ranges as new data becomes available
The workbook sheets are focussed on particular aspects of data analysis and presentation.
The workbook examples do not cover all scenarios, but provide general guidance using dummy data.
The sheets have been filled with dummy data that should be replaced with your actual data.
A moderate level of Excel experience is assumed, with tips and instructions provided to simplify data analysis and minimse data handling.
Key | Cells in black are calculated / autofill
Cells in blue is where data needs to be entered
Cells shaded in green is an output of note.
Cells shaded in orange contain data that is inconsistent, possibly erroneous or needs to be checked.
Notes | User notes have been added for several sheets to provide tips and instructions for use.
Remove this page when complete. Remove user notes and tips and other instructions if desired.
Cover Page | Enter data as required.
Data Sources | Data that may be held by the water service provider (WSP) / Council not generally available through SWIM should be used where appropriate, for example bore height records, intake meter volumes on a monthly basis for surface and groundwater takes etc. It is recommended that all data sources are noted, for future reference.
Demand | The WSP / Council will hold more granular data than what is noted in SWIM. This data should be used as appropriate for example, water demand on a monthly basis for residential, non-residential and total urban use.
Graphs | Some of the graph axes have been manually set in the examples given. You may 'Reset' to allow Excel to automatically choose the max y-axis or you may adjust manually.
If you add more data columns you will need to manually adjust the data inputs to the graphs.

## Cover page
Title: | [Community] Water Supply Security Statement - Supporting data
Water Service Provider: | [name] Regional Council
Date: | [date]
Principle Author (name): | [name]
Principle Author (title): | [title]
File location: | \\BNEFILE34\groupdir\SWI\Urban water supply planning\Statewide water security\Policies guidelines and resources\guidelines\Water supply security statement\[WSS template data workbook.xlsx]Please read
Key: | Cells in black are calculated / autofill
Cells in blue are entered data
Green shaded is an output of note.
Data that is potentially inconsistent, erroneous or needs to be checked.
Notes for users: | text as appropriate

## SWIM data
Title: | SWIM data to support general analysis
User notes : | Delete all blue (dummy) data before you start. Extract SWIM data, use filters to select desired indicators, copy and paste special using values and transpose. Adjust to suit circumstances.
| Be cautious if adding additional years (columns) of data. You will need to manually adjust formulas and graphs. | [12 empty] | View Graphics to the right
Growth rate (Column R) formula: y2/y1 ^ (1/n)-1, where y2 = value in last year, y1= value in first year, n=last year-first year, [^ means "to the power of"]
Data sources: | Add a column, or use comments to note data sources if they are complex.
Blue text/shaded is data to be entered.
Black/ Grey is calculated.
Shaded green is important output.
SWIM Indicator | Description | Units | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | Growth rate %pa | Mean | Median | Min | Max | Stdev |  | % Surface water | % Groundwater | % Desalinated water | % Net imports | Total water sourced (ML/a) | Average urban demand, all sources (L/p/d) | Average residential demand (L/p/d) | Average non-residential demand (L/p/d) | Average non-residential demand (kL/connection/yr)
| Resident population | QGSO data | 658 | 664 | 681 | 724 | 739 | 752 | 759 | 768 | 777 | 803 | 833 | 850 | 883 | 2.481% | [5 empty] | 2008-09 | 60.9607 | 34.138 | 0.024384 | 4.8769 | 41.01 | 170.754 | 71.1996 | 16.6549 | 40
CS1 | Population receiving services | 000s | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 11 | 11 | 22.12% | [5 empty] | 2009-10 | 50 | 44 | 0 | 6 | 50 | 206.3047 | 91.0216 | 20.6305 | 50
CS2 | Connected residential properties | 000s | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 5.5 | 5.5 | 22.12% | [5 empty] | 2010-11 | 48.1481 | 38.8889 | 0 | 12.963 | 54 | 217.247 | 92.9334 | 24.1386 | 60
CS3 | Connected non-residential properties | 000s | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0% | [5 empty] | 2011-12 | 53.0612 | 30.6122 | 0 | 16.3265 | 49 | 185.4234 | 94.6038 | 34.0574 | 90
Source Water Data | [21 empty] | 2012-13 | 50 | 28.8462 | 0 | 21.1538 | 52 | 192.7818 | 96.3909 | 29.6587 | 80
WA1 | Volume water sourced: surface | ML | 25 | 25 | 26 | 26 | 26 | 32 | 38 | 31 | 32 | 32 | 38 | 39 | 40 | 3.994% | 31.5385 | 32 | 25 | 40 | 5.4718 | 2013-14 | 47.0588 | 39.7059 | 0 | 13.2353 | 68 | 247.7412 | 98.3678 | 29.146 | 80
WA2 | Volume water sourced: groundwater | ML | 14 | 22 | 21 | 15 | 15 | 27 | 21 | 19 | 23 | 25 | 36 | 28 | 29 | 6.257% | 22.6923 | 22 | 14 | 36 | 6.0939 | 2014-15 | 54.2857 | 30 | 0 | 15.7143 | 70 | 252.6757 | 108.2896 | 39.7062 | 110
WA61 | Volume water produced: marine desalination | ML | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 3 | 0.01 | 0.01 | 0% | 0.46385 | 0 | 0 | 3 | 0.92833 | 2015-16 | 51.6667 | 31.6667 | 0 | 16.6667 | 60 | 214.0411 | 114.1553 | 42.8082 | 120
WA223 | Volume water imported from other schemes | ML | 6 | 6 | 8 | 12 | 14 | 13 | 13 | 14 | 21 | 15 | 19 | 19 | 18 | 9.587% | 13.6923 | 14 | 6 | 21 | 4.6803 | 2016-17 | 42.1053 | 30.2632 | 2.6316 | 25 | 76 | 267.9784 | 116.359 | 31.7343 | 90
WA224 | Volume water exported to other schemes | ML | 4 | 3 | 1 | 4 | 3 | 4 | 2 | 4 | 2 | 2 | 7 | 5 | 4 | 0% | 3.4615 | 4 | 1 | 7 | 1.4995 | 2017-18 | 45.0704 | 35.2113 | 1.4085 | 18.3099 | 71 | 242.2423 | 133.0627 | 30.7068 | 90
Calculation | Total volume water sourced for community | ML | 41.01 | 50 | 54 | 49 | 52 | 68 | 70 | 60 | 76 | 71 | 89 | 81.01 | 83.01 | 6.052% | 64.9254 | 68 | 41.01 | 89 | 14.4625 | 2018-19 | 42.6966 | 40.4494 | 3.3708 | 13.4831 | 89 | 292.7198 | 141.4264 | 32.8899 | 100
Calculation | Surface Water | % | 60.9607 | 50 | 48.1481 | 53.0612 | 50 | 47.0588 | 54.2857 | 51.6667 | 42.1053 | 45.0704 | 42.6966 | 48.1422 | 48.187 |  | 49.3371 | 48.187 | 42.1053 | 60.9607 | 4.8336 | 2019-20 | 48.1422 | 34.5636 | 0.012344 | 17.2818 | 81.01 | 261.112 | 132.1515 | 32.2321 | 100
Calculation | Groundwater | % | 34.138 | 44 | 38.8889 | 30.6122 | 28.8462 | 39.7059 | 30 | 31.6667 | 30.2632 | 35.2113 | 40.4494 | 34.5636 | 34.9355 |  | 34.8678 | 34.5636 | 28.8462 | 44 | 4.5097 | 2020-21 | 48.187 | 34.9355 | 0.012047 | 16.8654 | 83.01 | 257.5591 | 130.3154 | 27.9247 | 90
Calculation | Desalination | % | 0.024384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6316 | 1.4085 | 3.3708 | 0.012344 | 0.012047 |  | 0.57381 | 0 | 0 | 3.3708 | 1.1091
Calculation | Net imports | % | 4.8769 | 6 | 12.963 | 16.3265 | 21.1538 | 13.2353 | 15.7143 | 16.6667 | 25 | 18.3099 | 13.4831 | 17.2818 | 16.8654 |  | 15.2213 | 16.3265 | 4.8769 | 25 | 5.2254
Potable water demand
WA32 | Volume potable water supplied: residential | ML | 17 | 22 | 23 | 25 | 26 | 27 | 30 | 32 | 33 | 39 | 43 | 41 | 42 | 7.828% | 30.7692 | 30 | 17 | 43 | 8.097
WA34 | Volume potable water supplied: non-residential | ML | 2 | 3 | 3 | 6 | 5 | 4 | 9 | 9 | 6 | 6 | 6 | 6 | 6 | 9.587% | 5.4615 | 6 | 2 | 9 | 2.0235
Calculation | Volume potable water supplied: all | ML | 19 | 25 | 26 | 31 | 31 | 31 | 39 | 41 | 39 | 45 | 49 | 47 | 48 | 8.029% | 36.2308 | 39 | 19 | 49 | 9.3739
Non-Potable water demand
WA91 | Volume non-potable water supplied: residential | ML | 0.1 | 0.06 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -100% | 0.02 | 0 | 0 | 0.1 | 0.037622
WA92 | Volume non-potable water supplied: non-residential | ML | 2 | 2 | 3 | 3 | 3 | 4 | 2 | 3 | 3 | 3 | 4 | 4 | 3 | 3.437% | 3 | 3 | 2 | 4 | 0.67937
Calculation | Volume non-potable water supplied: all | ML | 2.1 | 2.06 | 3.1 | 3 | 3 | 4 | 2 | 3 | 3 | 3 | 4 | 4 | 3 | 3.017% | 3.02 | 3 | 2 | 4 | 0.66207
Potable + non-potable water demand
Calculation | Total volume water supplied: residential | ML | 17.1 | 22.06 | 23.1 | 25 | 26 | 27 | 30 | 32 | 33 | 39 | 43 | 41 | 42 | 7.776% | 30.7892 | 30 | 17.1 | 43 | 8.0716
Calculation | Total volume water supplied: non-residential | ML | 4 | 5 | 6 | 9 | 8 | 8 | 11 | 12 | 9 | 9 | 10 | 10 | 9 | 6.991% | 8.4615 | 9 | 4 | 12 | 2.2054
Calculation | Total Volume water supplied: Total | ML | 21.1 | 27.06 | 29.1 | 34 | 34 | 35 | 41 | 44 | 42 | 48 | 53 | 51 | 51 | 7.632% | 39.2508 | 41 | 21.1 | 53 | 9.7237
Calculation | Average urban demand (all sourced) | L/p/d | 170.754 | 206.3047 | 217.247 | 185.4234 | 192.7818 | 247.7412 | 252.6757 | 214.0411 | 267.9784 | 242.2423 | 292.7198 | 261.112 | 257.5591 | 3.485% | 231.4293 | 242.2423 | 170.754 | 292.7198 | 34.9912
Calculation | Average residential demand, supplied | L/p/d | 71.1996 | 91.0216 | 92.9334 | 94.6038 | 96.3909 | 98.3678 | 108.2896 | 114.1553 | 116.359 | 133.0627 | 141.4264 | 132.1515 | 130.3154 | 5.166% | 109.2521 | 108.2896 | 71.1996 | 141.4264 | 19.9822
Calculation | Average non-residential demand, supplied | L/p/d | 16.6549 | 20.6305 | 24.1386 | 34.0574 | 29.6587 | 29.146 | 39.7062 | 42.8082 | 31.7343 | 30.7068 | 32.8899 | 32.2321 | 27.9247 | 4.401% | 30.176 | 30.7068 | 16.6549 | 42.8082 | 6.7741
Calculation | Average non-residential demand per connection | kL/conn/yr | 40 | 50 | 60 | 90 | 80 | 80 | 110 | 120 | 90 | 90 | 100 | 100 | 90 | 6.991% | 84.6154 | 90 | 40 | 120 | 22.0543
Non-revenue water
AS56 | Real and apparent losses | 000s: ML; 11: 7; 11: 8; 22.12%: 14.29% | 7.5 | 7.5 | 7 | 8 | 0.5
Calculation | Real and apparent losses | 000s: % sourced; 11: 8.641%; 11: 9.637%; 22.12%: 11.53%
Calculation | Real and apparent losses | 000s: L/conn/day; 11: 3.4247; 11: 3.9139; 22.12%: 14.29%
Calculation | Total non-revenue water (calculated) | ML | 19.91 | 22.94 | 24.9 | 15 | 18 | 33 | 29 | 16 | 34 | 23 | 36 | 30.01 | 32.01 | 4.036%
Calculation | Total non-revenue water (calculated) | % sourced | 53.67% | 50% | 51.85% | 36.73% | 40.38% | 54.41% | 44.29% | 31.67% | 48.68% | 36.62% | 44.94% | 41.98% | 42.18% | -1.988% | 0.44416 | 0.44286 | 0.31667 | 0.54412 | 0.06794
Recycled water
WA26 | Recycled water produced | ML/a | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0.30769 | 0 | 0 | 2 | 0.60569

## Restrictions
Title: | [name] water supply scheme history of restrictions
User notes:
Data sources: | This data is only held by Council. Note that Amalgamations occurred in March 2008, affecting most councils in Queensland.
| Date of Council decision | Date of commencement | Restriction Level | Targets | Key Elements | Impact | Additional Information
|  |  | eg Medium level | eg 200 l/p/d residential use | eg introduced odds and evens sprinkler days and restricted time of day use. | eg residential usage reduced from 220 l/p/d to 190 l/p/d | e.g. Reason for water restrictions

## Water sources - surface
Title: | [name] water supply scheme announced allocations history |  |  | Blue is entered data.
User notes: | This will depend on the nature of the water supply and what data is available. |  |  | Black is calculated.
Data sources: | ROL holder has AA history. Stream levels from: https://water-monitoring.information.qld.gov.au/
|  |  | History of announced allocations for [HP] water product in [name] water supply scheme |  | Streamflow record from water monitoring portal: https://water-monitoring.information.qld.gov.au/
Announced allocation for [HP]
| % | Quarter
2007/07 | 80 | - Q1 (Jul-Sept)
| 90 | - Q2 (Oct-Dec)
| 90 | - Q3 (Jan-Mar)
| 90 | - Q4 (Apr-Jun)
2007/08 | 80 | - Q1 (Jul-Sept)
| 80 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2008/09 | 80 | - Q1 (Jul-Sept)
| 80 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2009/10 | 70 | - Q1 (Jul-Sept)
| 70 | - Q2 (Oct-Dec)
| 60 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2010/11 | 80 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2011/12 | 80 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2012/13 | 80 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2013/14 | 90 | - Q1 (Jul-Sept)
| 90 | - Q2 (Oct-Dec)
| 90 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2014/15 | 90 | - Q1 (Jul-Sept)
| 90 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2015/16 | 90 | - Q1 (Jul-Sept)
| 90 | - Q2 (Oct-Dec)
| 90 | - Q3 (Jan-Mar)
| 90 | - Q4 (Apr-Jun)
2016/17 | 90 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2017/18 | 80 | - Q1 (Jul-Sept)
| 80 | - Q2 (Oct-Dec)
| 80 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2018/19 | 80 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2019/20 | 80 | - Q1 (Jul-Sept)
| 90 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)
2020/21 | 100 | - Q1 (Jul-Sept)
| 100 | - Q2 (Oct-Dec)
| 100 | - Q3 (Jan-Mar)
| 100 | - Q4 (Apr-Jun)

## water sources - groundwater
Title: | Assessment of historical reliability of groundwater supplies. Use announced allocations, bore heights or other available indicators.
User notes: | Keep the maximum value of the two y-axes proportional, to make reading easier.
Manage hidden and empty cells using the menu at the bottom of the 'Select data' page
Data source: | Record of limitations published under the Water Act 2000 for taking of groundwater in the Creek Groundwater Management Area - Area 1.
Bore height and elevation data is available directly from: https://water-monitoring.information.qld.gov.au
Blue is entered data.
Water Year | Announced Entitlement for GMA1 | Total water taken from aquifer (ML) | Graph of historical announced allocations and water taken from Creek Groundwater Management Area 1 | Bore levels from water monitoring portal: https://water-monitoring.information.qld.gov.au
1996/97 | 100 | 1888
1997/98 | 100 | 1745
1998/99 | 100 | 1215
1999/00 | 100 | 1319
2000/01 | 100 | 2011
2001/02 | 100 | 2145
2002/03 | 100 | 2167
2003/04 | 100 | 1899
2004/05 | 90 | 2131
2005/06 | 80 | 2061
2006/07 | 70 | 2277
2007/08 | 20 | 1432
2008/09 | 45
2009/10 | 45
2010/11 | 50 | 641
2011/12 | 70 | 1421
2012/13 | 100 | 1458
2013/14 | 100 | 2185
2014/15 | 100 | 1868
2015/16 | 100 | 1696
2017/18 | 80 | 2009
2018/19 | 70
2019/20 | 70
2020/21 | 70

## Population
Title : | Historical population data and growth calculation | [8 empty] | Blue is entered data.
User notes: | If the data set is expanded or reduced, check the formulas in E8 and F8. Growth rate formula: y2/y1 ^ (1/n)-1, where y2 = value in last year, y1= value in first year, n=y2-y1, [^ means "to the power of"] | [8 empty] | Black is calculated.
| Get the best fit statistical area, best aligned with reticulation network, consider UCL areas also for small communities. | [8 empty] | Shaded green is important output.
Data source: | QGSO Population, SWIM CS1
[5 empty] | Population growth scenarios |  |  | Title : | Visitors at Census
Date | SA1a | SA1b | QGSO historical population | Serviced population | Growth at historical rate | Growth at projected QGSO rate | Growth at high rate | User notes: | Need to go into each census year to extract each data point separately.
Growth rate %pa |  |  | 2.24% | 0.9667% | 2.24% | 3.655% | 4.5% | Data source: | ABS
2001-06-30 | 558 | 0 | 558
2002-06-30 | 589 | 0 | 589 |  |  |  |  | Census date | SA1
2003-06-30 | 596 | 0 | 596 |  |  |  |  | 2001-08-07 | 16
2004-06-30 | 624 | 0 | 624 |  |  |  |  | 2006-08-08 | 18
2005-06-30 | 634 | 0 | 634 |  |  |  |  | 2011-08-09 | 16
2006-06-30 | 643 | 0 | 643 |  |  |  |  | 2016-08-09 | 20
2007-06-30 | 645 | 0 | 645
2008-06-30 | 656 | 0 | 656 |  |  |  |  | Growth rate %pa | 1.499%
2009-06-30 | 658 | 0 | 658
2010-06-30 | 664 | 0 | 664
2011-06-30 | 668 | 13 | 681 |  |  |  |  | Title : | Population projections (QGSO)
2012-06-30 | 712 | 12 | 724 | 750 |  |  |  | User tips: | Need to choose the most closely aligned SA2 area.
2013-06-30 | 725 | 14 | 739 | 750 |  |  |  | Data source: | QGSO
2014-06-30 | 737 | 15 | 752 | 750 |  |  |  | Year | SA2 Region
2015-06-30 | 743 | 16 | 759 | 770 |  |  |  | 2016 | 7188
2016-06-30 | 754 | 14 | 768 | 770 |  |  |  | 2021 | 8829
2017-06-30 | 765 | 12 | 777 | 800 |  |  |  | 2026 | 12677
2018-06-30 | 787 | 16 | 803 | 800 |  |  |  | 2031 | 13898
2019-06-30 | 812 | 21 | 833 | 810 |  |  |  | 2036 | 15746
2020-06-30 | 834 | 16 | 850 | 810 |  |  |  | 2041 | 17635
2021-06-30 | 867 | 16 | 883 | 820 | 869 | 881 | 888 | Growth rate %pa | 3.655%
2022-06-30 |  |  |  |  | 888.4644 | 913.2015 | 927.96
2023-06-30 |  |  |  |  | 908.3648 | 946.5799 | 969.7182
2024-06-30 |  |  |  |  | 928.7109 | 981.1784 | 1013.3555
2025-06-30 |  |  |  |  | 949.5127 | 1017.0415 | 1058.9565 | Title : | Population projections (Council)
2026-06-30 |  |  |  |  | 970.7804 | 1054.2155 | 1106.6096 | Data source: | DWQMP 2018
2027-06-30 |  |  |  |  | 992.5246 | 1092.7482 | 1156.407 | Year | [Town]
2028-06-30 |  |  |  |  | 1014.7557 | 1132.6893 | 1208.4453 | 2017 | 1584
2029-06-30 |  |  |  |  | 1037.4849 | 1174.0902 | 1262.8253 | 2023 | 1635
2030-06-30 |  |  |  |  | 1060.7231 | 1217.0045 | 1319.6525 | 2028 | 1697
2031-06-30 |  |  |  |  | 1084.4818 | 1261.4873 | 1379.0368
2032-06-30 |  |  |  |  | 1108.7727 | 1307.5959 | 1441.0935 | Growth rate %pa | 0.6284%
2033-06-30 |  |  |  |  | 1133.6076 | 1355.3899 | 1505.9427
2034-06-30 |  |  |  |  | 1158.9989 | 1404.9309 | 1573.7101
2035-06-30 |  |  |  |  | 1184.9588 | 1456.2826 | 1644.5271
2036-06-30 |  |  |  |  | 1211.5003 | 1509.5112 | 1718.5308
2037-06-30 |  |  |  |  | 1238.6362 | 1564.6854 | 1795.8647
2038-06-30 |  |  |  |  | 1266.3799 | 1621.8763 | 1876.6786
2039-06-30 |  |  |  |  | 1294.745 | 1681.1576 | 1961.1291
2040-06-30 |  |  |  |  | 1323.7455 | 1742.6057 | 2049.38

## Water demand
Population Details |  |  |  | Title : | Water Demand Metrics AND Total water demand history and projections (compared to entitlements and infrastructure capacity).
Year of last pop estimate (30 June): |  | 2021 |  | User notes: | Historical demand is currently set to extract from the SWIM data sheet (Row 22). Need to check and modify for accuracy. An alternate approach is to copy and past the values, using Paste Special Transpose.
Population at 30 June, year |  | 883 |  |  | Water demand metrics (average urban demand, average res demand and average non-res demand) are all extracting from the 'SWIM data' page. Need to check accuracy of SWIM data
Need to check that the starting population for the calculation is in the correct year (see orange shaded cells) - shift columns D,E,F,G up or down accordingly.
Current water demand |  | - Scenario #1 |  |  | The volume of entitlements can readily be increased or decreased in Column H, as required to reflect planned access to more water or dimishing reliability of supplies. Initially linked to D14.
Population growth rate, %: |  | 2% |  |  | You can explore different scenarios by trying different input values in cells D7, D8, D10 and D11. Try different plausible scenarios until you get a high and low wedge that is reasonable to plan from.
Total water demand, l/p/d : |  | 260 |  |  | Population growth rates and water demand used in scenarios can be based on historical population and demand data, QGSO projections, local knowledge of planned developments, and the expected high and low range of total water demand.
Lower water demand |  | - Scenario #2 |  | Data sources: | Average total demand (median, min, max) from 'SWIM data' sheet, population growth rates and starting population from 'Population' sheet.
Population growth rate, %: |  | 2%
Total water demand, l/p/d : |  | 220
Change in demand (% p.a.) |  | 0%
Higher water demand |  | - Scenario #3 |  | Blue is entered data.
Population growth rate, %: |  | 2.2% |  | Black is calculated.
Total water demand, l/p/d : |  | 280 |  | Shaded green is important output.
Change in demand (% p.a.) |  | 5% |  | Orange shading is to draw your attention - as per user notes.
Capacity constraints
Water entitlements, ML/a : |  | 300
Infrastructure capacity, ML/a |  | 125
Water Demand Metrics (extracted from 'SWIM data')
| Total volume sourced for community |  | Demand ML/a |  | Demand ML/a |  | Demand ML/a | Entitlements | Infrastructure capacity | Average urban demand, all sourced | Average residential demand, supplied | Average non-residential demand, supplied | Average non-residential demand (kL/connection/yr)
| ML/a | Population | Scenario #1 | Population | Scenario #2 | Population | Scenario #3 | ML/a | ML/a | L/p/d | L/p/d | L/p/d | ML/connection/yr
|  |  | Current water demand |  | Lower water demand |  | Higher water demand
2009-06-30 | 41.01 | [6 empty] | 300 | 125 | 170.754 | 71.1996 | 16.6549 | 40
2010-06-30 | 50 | [6 empty] | 300 | 125 | 206.3047 | 91.0216 | 20.6305 | 50
2011-06-30 | 54 | [6 empty] | 300 | 125 | 217.247 | 92.9334 | 24.1386 | 60
2012-06-30 | 49 | [6 empty] | 300 | 125 | 185.4234 | 94.6038 | 34.0574 | 90
2013-06-30 | 52 | [6 empty] | 300 | 125 | 192.7818 | 96.3909 | 29.6587 | 80
2014-06-30 | 68 | [6 empty] | 300 | 125 | 247.7412 | 98.3678 | 29.146 | 80
2015-06-30 | 70 | [6 empty] | 300 | 125 | 252.6757 | 108.2896 | 39.7062 | 110
2016-06-30 | 60 | [6 empty] | 300 | 125 | 214.0411 | 114.1553 | 42.8082 | 120
2017-06-30 | 76 | [6 empty] | 300 | 125 | 267.9784 | 116.359 | 31.7343 | 90
2018-06-30 | 71 | [6 empty] | 300 | 125 | 242.2423 | 133.0627 | 30.7068 | 90
2019-06-30 | 89 | [6 empty] | 300 | 125 | 292.7198 | 141.4264 | 32.8899 | 100
2020-06-30 | 81.01 | [6 empty] | 300 | 125 | 261.112 | 132.1515 | 32.2321 | 100
2021-06-30 | 83.01 | 883 | 83.01 | 883 | 83.01 | 883 | 83.01 | 300 | 125 | 257.5591 | 130.3154 | 27.9247 | 90
2022-06-30 |  | 900.66 | 85.4726 | 900.66 | 75.9391 | 902.426 | 96.8393 | 300 | 125
2023-06-30 |  | 918.6732 | 87.1821 | 918.6732 | 77.4579 | 922.2794 | 98.9698 | 300 | 125
2024-06-30 |  | 937.0467 | 88.9257 | 937.0467 | 79.0071 | 942.5695 | 101.1471 | 300 | 125
2025-06-30 |  | 955.7876 | 90.7042 | 955.7876 | 80.5872 | 963.306 | 103.3724 | 300 | 125
2026-06-30 |  | 974.9033 | 92.5183 | 974.9033 | 82.199 | 984.4988 | 105.6466 | 300 | 125
2027-06-30 |  | 994.4014 | 94.3687 | 994.4014 | 83.843 | 1006.1578 | 107.9708 | 300 | 125
2028-06-30 |  | 1014.2894 | 96.2561 | 1014.2894 | 85.5198 | 1028.2932 | 110.3461 | 300 | 125
2029-06-30 |  | 1034.5752 | 98.1812 | 1034.5752 | 87.2302 | 1050.9157 | 112.7738 | 300 | 125
2030-06-30 |  | 1055.2667 | 100.1448 | 1055.2667 | 88.9748 | 1074.0358 | 115.2548 | 300 | 125
2031-06-30 |  | 1076.3721 | 102.1477 | 1076.3721 | 90.7543 | 1097.6646 | 117.7904 | 300 | 125
2032-06-30 |  | 1097.8995 | 104.1907 | 1097.8995 | 92.5694 | 1121.8132 | 120.3818 | 300 | 125
2033-06-30 |  | 1119.8575 | 106.2745 | 1119.8575 | 94.4208 | 1146.4931 | 123.0302 | 300 | 125
2034-06-30 |  | 1142.2547 | 108.4 | 1142.2547 | 96.3092 | 1171.716 | 125.7368 | 300 | 125
2035-06-30 |  | 1165.0997 | 110.568 | 1165.0997 | 98.2354 | 1197.4937 | 128.5031 | 300 | 125
2036-06-30 |  | 1188.4017 | 112.7793 | 1188.4017 | 100.2001 | 1223.8386 | 131.3301 | 300 | 125
2037-06-30 |  | 1212.1698 | 115.0349 | 1212.1698 | 102.2041 | 1250.763 | 134.2194 | 300 | 125
2038-06-30 |  | 1236.4132 | 117.3356 | 1236.4132 | 104.2482 | 1278.2798 | 137.1722 | 300 | 125
2039-06-30 |  | 1261.1414 | 119.6823 | 1261.1414 | 106.3331 | 1306.402 | 140.19 | 300 | 125
2040-06-30 |  | 1286.3643 | 122.076 | 1286.3643 | 108.4598 | 1335.1428 | 143.2742 | 300 | 125
2041-06-30 |  | 1312.0916 | 124.5175 | 1312.0916 | 110.629 | 1364.516 | 146.4262 | 300 | 125

## Monthly weather data and effect
Title: | Monthly weather data and effects
User notes: | Use this page to check how the last 10 years (minimum) of weather compares to the long term average (median) for monthly rainfall and mean monthly maximum temperature (step 1-4), AND to see how weather impacts on demand (step 5). When assessing the impact of weather on demand, note any presence of water restictions.
See step by step instructions below.
Data sources: | BOM Climate data |  | http://www.bom.gov.au/climate/data/
| Blue is entered data. | [15 empty] | Median monthly rainfall
Black is calculated.
Step 1. Choose nearest rainfall station with a long history (at least 20 years, and that was open until at least 2015), download data for monthly rainfall, copy and paste Summary Statistics for all years.
Weather station: | Location and station number |  |  |  | Summary Statistics for Monthly rainfall, mm
Statistic | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Mean | 90.4 | 106.1 | 86.4 | 26.2 | 36.5 | 36.1 | 26.6 | 29.8 | 34.3 | 63.2 | 72.5 | 100.6 | 699.6
Lowest | 4.8 | 12 | 3.8 | 1 | 7.2 | 0 | 0 | 2 | 1 | 5.4 | 0 | 24.8 | 330
5th %ile | 8.7 | 15 | 6.4 | 6.5 | 7.7 | 2 | 0.4 | 2.8 | 2.2 | 13.2 | 23.4 | 32.5 | 433.4
10th %ile | 10 | 19.9 | 16.4 | 7.2 | 8.5 | 7.2 | 2.1 | 4.4 | 3.8 | 17.7 | 25.2 | 35 | 458.2
Median | 66.4 | 84.9 | 70.2 | 23 | 27.8 | 27.6 | 15.4 | 21.3 | 23.7 | 54.6 | 71.2 | 100.8 | 662
90th %ile | 168.6 | 219.1 | 183.8 | 42.4 | 67.6 | 82.7 | 65.6 | 67.3 | 87.1 | 119 | 118.4 | 137.4 | 1079
95th %ile | 380.9 | 243.2 | 198.5 | 58.1 | 96.2 | 101.3 | 77 | 81.5 | 102.3 | 130.6 | 128 | 240 | 1156.8
Highest | 416 | 265.2 | 313.6 | 69.4 | 134.2 | 109.6 | 105 | 88.4 | 119 | 150.4 | 165.2 | 399.2 | 1161
Step 2. Choose nearest rainfall station, that has data continuous from 2008 to date. Copy and paste monthly data from 2009 to date. (User Tip - start selection of data in BOM from the annual total for 2008.) Delect this data point after pasting. Add in Table headings (Jan-Dec, Total). If data has gaps - supplement with the monthly median value and highlight cell orange.
Weather station: | Location and station number Jan: Location and station number; Summary Statistics for Monthly rainfall, mm May: Actual Monthly rainfall, mm
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | % variation from median
2008 | [16 empty] | Median monthly maximum temperature
2009 | 87.6 | 63.4 | 15.2 | 34.4 | 49.4 | 25.2 | 3.8 | 4.2 | 25.6 | 45 | 32 | 47.6 | 433.4 | -34.5317
2010 | 55.6 | 156.6 | 116.2 | 27 | 27.8 | 11.4 | 29.2 | 88.4 | 92.6 | 81 | 76 | 399.2 | 1161 | 75.3776
2011 | 413 | 108.4 | 120.4 | 42.8 | 69.6 | 11 | 13.4 | 66.6 | 22.4 | 89 | 74.4 | 125.8 | 1156.8 | 74.7432
2012 | 98.2 | 106 | 86.8 | 33.2 | 14.8 | 103 | 28.2 | 7.2 | 27.6 | 59.4 | 45.4 | 57.2 | 667 | 0.75529
2013 | 416 | 184.2 | 113 | 41 | 51.4 | 61.2 | 27.8 | 4.8 | 16.8 | 43.2 | 80 | 39.6 | 1079 | 62.9909
2014 | 12 | 12 | 190 | 7 | 35.6 | 25.4 | 13.4 | 30.2 | 18 | 12.6 | 54.6 | 251.2 | 662 | 0
2015 | 49.2 | 39 | 42.4 | 35.6 | 134.2 | 18 | 15.2 | 29.4 | 25 | 64.6 | 91.4 | 102.4 | 646.4 | -2.3565
2016 | 82.2 | 79.6 | 70.2 | 6.4 | 19 | 109.6 | 40.4 | 54.8 | 104 | 29 | 25 | 33.8 | 654 | -1.2085
2017 | 93.4 | 21.2 | 313.6 | 20.6 | 14.4 | 35.8 | 26.4 | 2 | 1 | 150.4 | 26 | 104 | 808.8 | 22.1752
2018 | 8.6 | 189.8 | 51 | 23 | 7.6 | 13.8 | 15.6 | 6.6 | 16.6 | 110 | 57.8 | 48.8 | 549.2 | -17.0393
2019 | 4.8 | 19.4 | 199.4 | 11.2 | 21.4 | 13.2 | 6.2 | 5.8 | 3.6 | 20.2 | 0 | 24.8 | 330 | -50.1511
2020 | 69.8 | 167.2 | 27 | 15 | 16.6 | 30.6 | 40 | 48.8 | 8.8 | 79.6 | 0.4 | 176.8 | 680.6 | 2.8097
2021 | 69.8 | 167.2 | 27 | 15 | 16.6 | 30.6 | 40 | 48.8 | 8.8 | 79.6 | 0.4 | 176.8 | 680.6 | 2.8097
Step 3. Choose nearest temperature station, download data for Monthly (mean maximum temperature), copy and paste Summary statistics for all years.
Step 4. Copy temperature data. If data has gaps - supplement with the monthly median value and highlight cell orange.
Weather station: | Location and station number Jan: Location and station number; Actual Monthly rainfall, mm May: Summary Statistics for Monthly mean maximum temperature, deg C
Statistic | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Mean | 28.5 | 27.6 | 26.2 | 23.3 | 19.9 | 17 | 16.8 | 18.8 | 22.4 | 24.6 | 26.4 | 27.7 | 23.3
Lowest | 26 | 24.5 | 23.9 | 21.4 | 18.2 | 14.6 | 15.3 | 16.7 | 20 | 21 | 22.2 | 23.6 | 21.5
5th %ile | 26.2 | 24.7 | 23.9 | 21.4 | 18.4 | 15.6 | 15.6 | 16.9 | 20.2 | 21.9 | 23.2 | 24.1 | 21.7
10th %ile | 26.4 | 25.4 | 24.1 | 21.6 | 18.7 | 15.7 | 15.6 | 17.4 | 20.3 | 22.7 | 24 | 24.7 | 22
Median | 29 | 27.4 | 26.6 | 23.3 | 19.8 | 17.2 | 16.9 | 18.5 | 22.3 | 24.1 | 26.5 | 28 | 23.2
90th %ile | 30.6 | 29.7 | 28.1 | 24.8 | 20.8 | 18.3 | 18.3 | 20.2 | 24.8 | 26.8 | 29 | 30.1 | 24.1
95th %ile | 30.8 | 30 | 28.9 | 25 | 22.2 | 18.4 | 18.7 | 20.6 | 25.1 | 26.9 | 30.1 | 31.2 | 24.2
Highest | 30.8 | 31.5 | 29.9 | 25.6 | 22.9 | 18.4 | 18.8 | 22.5 | 25.4 | 27.1 | 30.4 | 31.7 | 25.1
Weather station: | Location and station number Jan: Location and station number; Summary Statistics for Monthly mean maximum temperature, deg C May: Actual monthly mean maximum temperature, deg C
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual | % variation from median
2008
2009 | 27.6 | 26.8 | 26.8 | 23.2 | 19.5 | 16.9 | 16.6 | 22.5 | 23.4 | 25.4 | 29.2 | 29.7 | 24 | 3.4483
2010 | 29.3 | 26.2 | 23.9 | 23.5 | 19.3 | 16.6 | 16.5 | 16.7 | 20.2 | 21 | 23.1 | 23.6 | 21.7 | -6.4655 |  | To adjust the timespan shown on a graph, right-click on the X axis and then click 'select data'. Under 'horizontal axis labels', click 'edit' and then the 'select range' button. Select the cells that contain the range of date values you want to have shown in the graph, then click on 'select range' and 'ok' to confirm. To adjust the range of values shown in the graph, click on the values plotted in the graph. This will highlight the cells used to plot those values. Put your cursor in the corner of this range of cells and click and drag the cell range so it highlights the range of values you would like to show on the graph.
2011 | 26 | 27.4 | 24.8 | 22 | 18.2 | 15.6 | 15.8 | 18.2 | 21 | 21.8 | 27.3 | 24.1 | 21.9 | -5.6034
2012 | 26.4 | 26.2 | 24.1 | 22.6 | 19.5 | 16 | 15.8 | 19 | 22.3 | 24.7 | 27 | 28.9 | 22.7 | -2.1552
2013 | 29 | 24.5 | 23.9 | 22.3 | 18.4 | 16 | 17.1 | 20.2 | 24.9 | 26.3 | 27.6 | 28.3 | 23.2 | 0
2014 | 29.3 | 28.6 | 26.6 | 23.9 | 19.8 | 17.7 | 16.9 | 17.6 | 21.6 | 27.1 | 30.3 | 27.5 | 23.9 | 3.0172
2015 | 27.7 | 27 | 28 | 21.9 | 19.7 | 17 | 16.1 | 18.9 | 21 | 25.4 | 27.6 | 26 | 23 | -0.86207
2016 | 28 | 28.9 | 27 | 25.6 | 22.9 | 16.1 | 17.5 | 18.2 | 20 | 23.7 | 28.4 | 30.3 | 23.9 | 3.0172
2017 | 30.3 | 31.5 | 26.7 | 21.5 | 20.3 | 18.4 | 18.8 | 20.7 | 25.4 | 23.5 | 24.2 | 28.3 | 24.1 | 3.8793
2018 | 30.8 | 28.2 | 25.7 | 24.8 | 20.6 | 18 | 18.7 | 20.1 | 22.5 | 23.6 | 27.5 | 28.5 | 24.1 | 3.8793
2019 | 30.8 | 29.7 | 28.1 | 23.2 | 20 | 17.6 | 18.5 | 19.5 | 24.4 | 26.8 | 30.4 | 31.7 | 25.1 | 8.1897
2020 | 33.4 | 29.3 | 27.5 | 26.7 | 20.6 | 19.5 | 18.3 | 19.9 | 23.9 | 27 | 31.2 | 30 | 25.6 | 10.3448
2021 | 30.8 | 29.7 | 28.1 | 23.2 | 20 | 17.6 | 18.5 | 19.5 | 24.4 | 26.8 | 30.4 | 31.7 | 25.1 | 8.1897
| Location and station number Jan: Average monthly demand |  |  | Step 5. If you want to see the effect of weather on demand, input monthly demand data (kL/month) to the table on the left (in blue). This table is currently set up with dummy data. Monthly data is preferrable, however if monthly data is not available tables in the 'Annual weather data and effect' sheet can be used.
| Monthly rainfall |  | Mean month max temp |  | Restriction level | Total water sourced | Residential demand | Non-residential demand | Total demand | Residential demand | Non-residential demand | Non-residential demand
| Recent history | Long term median | Recent history | Long term median |  | kL/month | kL/month | kL/month | L/p/d | L/p/d | L/p/d | kL / connection / month
Jan-2008 | Location and station number Jan: 0; Location and station number Feb: 66.4; Location and station number Mar: 0; Location and station number Apr: 29 | [5 empty] | View Graphics below
Feb-2008 | Location and station number Jan: 0; Location and station number Feb: 84.9; Location and station number Mar: 0; Location and station number Apr: 27.4
Mar-2008 | Location and station number Jan: 0; Location and station number Feb: 70.2; Location and station number Mar: 0; Location and station number Apr: 26.6
Apr-2008 | Location and station number Jan: 0; Location and station number Feb: 23; Location and station number Mar: 0; Location and station number Apr: 23.3
May-2008 | Location and station number Jan: 0; Location and station number Feb: 27.8; Location and station number Mar: 0; Location and station number Apr: 19.8
Jun-2008 | Location and station number Jan: 0; Location and station number Feb: 27.6; Location and station number Mar: 0; Location and station number Apr: 17.2
Jul-2008 | 0 | 15.4 | 0 | 16.9 |  | 5000 | 3900 | 600 | 245.1221 | 191.1952 | 29.4146 | 6000
Aug-2008 | 0 | 21.3 | 0 | 18.5 |  | 5005 | 3902 | 600 | 245.3672 | 191.2933 | 29.4146 | 6000
Sep-2008 | 0 | 23.7 | 0 | 22.3 |  | 5010 | 3908 | 600 | 253.7994 | 197.9737 | 30.3951 | 6000
Oct-2008 | 0 | 54.6 | 0 | 24.1 |  | 5122 | 3998 | 600 | 251.103 | 195.9996 | 29.4146 | 6000
Nov-2008 | 0 | 71.2 | 0 | 26.5 |  | 5122 | 3995 | 600 | 251.103 | 195.8525 | 29.4146 | 6000
Dec-2008 | 0 | 100.8 | 0 | 28 |  | 5122 | 3995 | 600 | 251.103 | 195.8525 | 29.4146 | 6000
Jan-2009 | 87.6 | 66.4 | 27.6 | 29 |  | 5122 | 3995 | 600 | 251.103 | 195.8525 | 29.4146 | 6000
Feb-2009 | 63.4 | 84.9 | 26.8 | 27.4 |  | 5122 | 3995 | 600 | 278.0069 | 216.8367 | 32.5662 | 6000
Mar-2009 | 15.2 | 70.2 | 26.8 | 26.6 |  | 5122 | 3995 | 600 | 251.103 | 195.8525 | 29.4146 | 6000
Apr-2009 | 34.4 | 23 | 23.2 | 23.3 |  | 5122 | 4000 | 600 | 259.4732 | 202.6342 | 30.3951 | 6000
May-2009 | 49.4 | 27.8 | 19.5 | 19.8 |  | 5122 | 4000 | 614 | 251.103 | 196.0977 | 30.101 | 6140
Jun-2009 | 25.2 | 27.6 | 16.9 | 17.2 |  | 5122 | 4000 | 614 | 259.4732 | 202.6342 | 31.1044 | 6140
Jul-2009 | 3.8 | 15.4 | 16.6 | 16.9 |  | 5122 | 4000 | 614 | 248.834 | 194.3257 | 29.829 | 6.14
Aug-2009 | 4.2 | 21.3 | 22.5 | 18.5 |  | 5122 | 4000 | 614 | 248.834 | 194.3257 | 29.829 | 6.14
Sep-2009 | 25.6 | 23.7 | 23.4 | 22.3 |  | 5111 | 4000 | 614 | 256.5763 | 200.8032 | 30.8233 | 6.14
Oct-2009 | 45 | 54.6 | 25.4 | 24.1 |  | 5111 | 4000 | 614 | 248.2997 | 194.3257 | 29.829 | 6.14
Nov-2009 | 32 | 71.2 | 29.2 | 26.5 |  | 5111 | 4000 | 614 | 256.5763 | 200.8032 | 30.8233 | 6.14
Dec-2009 | 47.6 | 100.8 | 29.7 | 28 |  | 5111 | 4000 | 614 | 248.2997 | 194.3257 | 29.829 | 6.14
Jan-2010 | 55.6 | 66.4 | 29.3 | 29 |  | 5111 | 4000 | 614 | 248.2997 | 194.3257 | 29.829 | 6.14
Feb-2010 | 156.6 | 84.9 | 26.2 | 27.4 |  | 5111 | 4000 | 614 | 274.9032 | 215.1463 | 33.025 | 6.14
Mar-2010 | 116.2 | 70.2 | 23.9 | 26.6 |  | 5111 | 4000 | 614 | 248.2997 | 194.3257 | 29.829 | 6.14
Apr-2010 | 27 | 23 | 23.5 | 23.3 |  | 5111 | 3986 | 615 | 256.5763 | 200.1004 | 30.8735 | 6.15
May-2010 | 27.8 | 27.8 | 19.3 | 19.8 |  | 5111 | 3986 | 615 | 248.2997 | 193.6455 | 29.8776 | 6.15
Jun-2010 | 11.4 | 27.6 | 16.6 | 17.2 |  | 5111 | 3986 | 615 | 256.5763 | 200.1004 | 30.8735 | 6.15
Jul-2010 | 29.2 | 15.4 | 16.5 | 16.9 |  | 5111 | 3986 | 615 | 242.1013 | 188.8115 | 29.1317 | 6.15
Aug-2010 | 88.4 | 21.3 | 16.7 | 18.5 |  | 5111 | 3986 | 615 | 242.1013 | 188.8115 | 29.1317 | 6.15
Sep-2010 | 92.6 | 23.7 | 20.2 | 22.3 |  | 5111 | 3986 | 615 | 250.1713 | 195.1052 | 30.1028 | 6.15
Oct-2010 | 81 | 54.6 | 21 | 24.1 |  | 5111 | 3986 | 615 | 242.1013 | 188.8115 | 29.1317 | 6.15
Nov-2010 | 76 | 71.2 | 23.1 | 26.5 |  | 5111 | 3986 | 615 | 250.1713 | 195.1052 | 30.1028 | 6.15
Dec-2010 | 399.2 | 100.8 | 23.6 | 28 |  | 5071 | 3955 | 615 | 240.2065 | 187.3431 | 29.1317 | 6.15
Jan-2011 | 413 | 66.4 | 26 | 29 |  | 5007 | 3955 | 600 | 237.1749 | 187.3431 | 28.4212 | 6
Feb-2011 | 108.4 | 84.9 | 27.4 | 27.4 |  | 5007 | 3955 | 600 | 262.5865 | 207.4156 | 31.4663 | 6
Mar-2011 | 120.4 | 70.2 | 24.8 | 26.6 |  | 5007 | 3955 | 600 | 237.1749 | 187.3431 | 28.4212 | 6
Apr-2011 | 42.8 | 23 | 22 | 23.3 |  | 5007 | 3955 | 600 | 245.0808 | 193.5879 | 29.3686 | 6
May-2011 | 69.6 | 27.8 | 18.2 | 19.8 |  | 5007 | 3906 | 600 | 237.1749 | 185.022 | 28.4212 | 6
Jun-2011 | 11 | 27.6 | 15.6 | 17.2 |  | 5007 | 3906 | 600 | 245.0808 | 191.1894 | 29.3686 | 6
Jul-2011 | 13.4 | 15.4 | 15.8 | 16.9 |  | 5007 | 3906 | 600 | 223.0886 | 174.0331 | 26.7332 | 6
Aug-2011 | 66.6 | 21.3 | 18.2 | 18.5 |  | 5021 | 3906 | 600 | 223.7124 | 174.0331 | 26.7332 | 6
Sep-2011 | 22.4 | 23.7 | 21 | 22.3 |  | 5021 | 3906 | 600 | 231.1694 | 179.8343 | 27.6243 | 6
Oct-2011 | 89 | 54.6 | 21.8 | 24.1 |  | 5021 | 3906 | 606 | 223.7124 | 174.0331 | 27.0005 | 6.06
Nov-2011 | 74.4 | 71.2 | 27.3 | 26.5 |  | 5021 | 3906 | 606 | 231.1694 | 179.8343 | 27.9006 | 6.06
Dec-2011 | 125.8 | 100.8 | 24.1 | 28 |  | 5021 | 3917 | 606 | 223.7124 | 174.5233 | 27.0005 | 6.06
Jan-2012 | 98.2 | 66.4 | 26.4 | 29 |  | 5021 | 3917 | 606 | 223.7124 | 174.5233 | 27.0005 | 6.06
Feb-2012 | 106 | 84.9 | 26.2 | 27.4 |  | 5021 | 3917 | 606 | 247.6815 | 193.2222 | 29.8934 | 6.06
Mar-2012 | 86.8 | 70.2 | 24.1 | 26.6 |  | 5021 | 3917 | 606 | 223.7124 | 174.5233 | 27.0005 | 6.06
Apr-2012 | 33.2 | 23 | 22.6 | 23.3 |  | 5021 | 3917 | 606 | 231.1694 | 180.3407 | 27.9006 | 6.06
May-2012 | 14.8 | 27.8 | 19.5 | 19.8 |  | 5021 | 3917 | 606 | 223.7124 | 174.5233 | 27.0005 | 6.06
Jun-2012 | 103 | 27.6 | 16 | 17.2 |  | 5021 | 3917 | 606 | 231.1694 | 180.3407 | 27.9006 | 6.06
Jul-2012 | 28.2 | 15.4 | 15.8 | 16.9 |  | 5021 | 3917 | 606 | 219.1715 | 170.9808 | 26.4525 | 6.06
Aug-2012 | 7.2 | 21.3 | 19 | 18.5 |  | 5098 | 3982 | 606 | 222.5326 | 173.8182 | 26.4525 | 6.06
Sep-2012 | 27.6 | 23.7 | 22.3 | 22.3 |  | 5098 | 3982 | 611 | 229.9504 | 179.6121 | 27.5598 | 6.11
Oct-2012 | 59.4 | 54.6 | 24.7 | 24.1 |  | 5098 | 3982 | 611 | 222.5326 | 173.8182 | 26.6707 | 6.11
Nov-2012 | 45.4 | 71.2 | 27 | 26.5 |  | 5098 | 3982 | 611 | 229.9504 | 179.6121 | 27.5598 | 6.11
Dec-2012 | 57.2 | 100.8 | 28.9 | 28 |  | 5098 | 3982 | 611 | 222.5326 | 173.8182 | 26.6707 | 6.11
Jan-2013 | 416 | 66.4 | 29 | 29 |  | 5098 | 3982 | 611 | 222.5326 | 173.8182 | 26.6707 | 6.11
Feb-2013 | 184.2 | 84.9 | 24.5 | 27.4 |  | 5098 | 3982 | 611 | 246.3754 | 192.4415 | 29.5283 | 6.11
Mar-2013 | 113 | 70.2 | 23.9 | 26.6 |  | 5098 | 3982 | 611 | 222.5326 | 173.8182 | 26.6707 | 6.11
Apr-2013 | 41 | 23 | 22.3 | 23.3 |  | 5098 | 3982 | 611 | 229.9504 | 179.6121 | 27.5598 | 6.11
May-2013 | 51.4 | 27.8 | 18.4 | 19.8 |  | 5098 | 3982 | 611 | 222.5326 | 173.8182 | 26.6707 | 6.11
Jun-2013 | 61.2 | 27.6 | 16 | 17.2 |  | 5098 | 3982 | 609 | 229.9504 | 179.6121 | 27.4696 | 6.09
Jul-2013 | 27.8 | 15.4 | 17.1 | 16.9 |  | 5090 | 3970 | 609 | 218.3425 | 170.2986 | 26.1239 | 6.09
Aug-2013 | 4.8 | 21.3 | 20.2 | 18.5 |  | 5090 | 3970 | 609 | 218.3425 | 170.2986 | 26.1239 | 6.09
Sep-2013 | 16.8 | 23.7 | 24.9 | 22.3 |  | 5090 | 3970 | 609 | 225.6206 | 175.9752 | 26.9947 | 6.09
Oct-2013 | 43.2 | 54.6 | 26.3 | 24.1 |  | 5090 | 3970 | 609 | 218.3425 | 170.2986 | 26.1239 | 6.09
Nov-2013 | 80 | 71.2 | 27.6 | 26.5 |  | 5090 | 3970 | 609 | 225.6206 | 175.9752 | 26.9947 | 6.09
Dec-2013 | 39.6 | 100.8 | 28.3 | 28 |  | 5090 | 3970 | 609 | 218.3425 | 170.2986 | 26.1239 | 6.09
Jan-2014 | 12 | 66.4 | 29.3 | 29 |  | 5090 | 3970 | 609 | 218.3425 | 170.2986 | 26.1239 | 6.09
Feb-2014 | 12 | 84.9 | 28.6 | 27.4 |  | 5090 | 3970 | 619 | 241.7363 | 188.5448 | 29.3978 | 6.19
Mar-2014 | 190 | 70.2 | 26.6 | 26.6 |  | 5090 | 3970 | 619 | 218.3425 | 170.2986 | 26.5528 | 6.19
Apr-2014 | 7 | 23 | 23.9 | 23.3 |  | 5090 | 3970 | 619 | 225.6206 | 175.9752 | 27.4379 | 6.19
May-2014 | 35.6 | 27.8 | 19.8 | 19.8 |  | 5090 | 3970 | 619 | 218.3425 | 170.2986 | 26.5528 | 6.19
Jun-2014 | 25.4 | 27.6 | 17.7 | 17.2 |  | 5097 | 3974 | 619 | 225.9309 | 176.1525 | 27.4379 | 6.19
Jul-2014 | 13.4 | 15.4 | 16.9 | 16.9 | 1 | 5097 | 3974 | 619 | 216.6263 | 168.898 | 26.308 | 6.19
Aug-2014 | 30.2 | 21.3 | 17.6 | 18.5 | 1 | 5097 | 3974 | 619 | 216.6263 | 168.898 | 26.308 | 6.19
Sep-2014 | 18 | 23.7 | 21.6 | 22.3 | 1 | 5097 | 3974 | 619 | 223.8472 | 174.5279 | 27.1849 | 6.19
Oct-2014 | 12.6 | 54.6 | 27.1 | 24.1 | 1 | 5097 | 3974 | 619 | 216.6263 | 168.898 | 26.308 | 6.19
Nov-2014 | 54.6 | 71.2 | 30.3 | 26.5 | 1 | 5104 | 3974 | 619 | 224.1546 | 174.5279 | 27.1849 | 6.19
Dec-2014 | 251.2 | 100.8 | 27.5 | 28 | 1 | 5104 | 3984 | 619 | 216.9238 | 169.323 | 26.308 | 6.19
Jan-2015 | 49.2 | 66.4 | 27.7 | 29 | 1 | 5104 | 3984 | 619 | 216.9238 | 169.323 | 26.308 | 6.19
Feb-2015 | 39 | 84.9 | 27 | 27.4 | 2 | 5104 | 3984 | 619 | 240.1656 | 187.4647 | 29.1267 | 6.19
Mar-2015 | 42.4 | 70.2 | 28 | 26.6 | 2 | 5104 | 3984 | 619 | 216.9238 | 169.323 | 26.308 | 6.19
Apr-2015 | 35.6 | 23 | 21.9 | 23.3 | 2 | 5104 | 3984 | 612 | 224.1546 | 174.9671 | 26.8775 | 6.12
May-2015 | 134.2 | 27.8 | 19.7 | 19.8 | 2 | 5104 | 3984 | 612 | 216.9238 | 169.323 | 26.0105 | 6.12
Jun-2015 | 18 | 27.6 | 17 | 17.2 | 2 | 5104 | 3984 | 612 | 224.1546 | 174.9671 | 26.8775 | 6.12
Jul-2015 | 15.2 | 15.4 | 16.1 | 16.9 | 2 | 5104 | 3984 | 612 | 214.3817 | 167.3387 | 25.7056 | 6.12
Aug-2015 | 29.4 | 21.3 | 18.9 | 18.5 | 2 | 5104 | 3984 | 635 | 214.3817 | 167.3387 | 26.6717 | 6.35
Sep-2015 | 25 | 23.7 | 21 | 22.3 | 3 | 5104 | 3984 | 635 | 221.5278 | 172.9167 | 27.5608 | 6.35
Oct-2015 | 64.6 | 54.6 | 25.4 | 24.1 | 3 | 5104 | 3984 | 635 | 214.3817 | 167.3387 | 26.6717 | 6.35
Nov-2015 | 91.4 | 71.2 | 27.6 | 26.5 | 3 | 5104 | 3984 | 635 | 221.5278 | 172.9167 | 27.5608 | 6.35
Dec-2015 | 102.4 | 100.8 | 26 | 28 | 3 | 5104 | 3984 | 635 | 214.3817 | 167.3387 | 26.6717 | 6.35
Jan-2016 | 82.2 | 66.4 | 28 | 29 | 3 | 5104 | 3984 | 635 | 214.3817 | 167.3387 | 26.6717 | 6.35
Feb-2016 | 79.6 | 84.9 | 28.9 | 27.4 | 3 | 5101 | 3987 | 635 | 237.2117 | 185.4074 | 29.5294 | 6.35
Mar-2016 | 70.2 | 70.2 | 27 | 26.6 | 3 | 5101 | 3987 | 635 | 214.2557 | 167.4647 | 26.6717 | 6.35
Apr-2016 | 6.4 | 23 | 25.6 | 23.3 | 3 | 5101 | 3987 | 635 | 221.3976 | 173.0469 | 27.5608 | 6.35
May-2016 | 19 | 27.8 | 22.9 | 19.8 | 3 | 5101 | 3987 | 635 | 214.2557 | 167.4647 | 26.6717 | 6.35
Jun-2016 | 109.6 | 27.6 | 16.1 | 17.2 |  | 5101 | 3987 | 635 | 221.3976 | 173.0469 | 27.5608 | 6.35
Jul-2016 | 40.4 | 15.4 | 17.5 | 16.9 |  | 5101 | 3987 | 635 | 211.774 | 165.525 | 26.3628 | 6.35
Aug-2016 | 54.8 | 21.3 | 18.2 | 18.5 |  | 5101 | 3987 | 635 | 211.774 | 165.525 | 26.3628 | 6.35
Sep-2016 | 104 | 23.7 | 20 | 22.3 |  | 5101 | 3987 | 635 | 218.8331 | 171.0425 | 27.2415 | 6.35
Oct-2016 | 29 | 54.6 | 23.7 | 24.1 |  | 5101 | 3987 | 635 | 211.774 | 165.525 | 26.3628 | 6.35
Nov-2016 | 25 | 71.2 | 28.4 | 26.5 |  | 5101 | 3920 | 622 | 218.8331 | 168.1682 | 26.6838 | 6.22
Dec-2016 | 33.8 | 100.8 | 30.3 | 28 |  | 5026 | 3920 | 622 | 208.6603 | 162.7434 | 25.8231 | 6.22
Jan-2017 | 93.4 | 66.4 | 30.3 | 29 |  | 5026 | 3920 | 622 | 208.6603 | 162.7434 | 25.8231 | 6.22
Feb-2017 | 21.2 | 84.9 | 31.5 | 27.4 |  | 5026 | 3920 | 622 | 231.0167 | 180.1802 | 28.5898 | 6.22
Mar-2017 | 313.6 | 70.2 | 26.7 | 26.6 |  | 5026 | 3920 | 622 | 208.6603 | 162.7434 | 25.8231 | 6.22
Apr-2017 | 20.6 | 23 | 21.5 | 23.3 |  | 5026 | 3920 | 622 | 208.6603 | 162.7434 | 25.8231 | 6.22
May-2017 | 14.4 | 27.8 | 20.3 | 19.8 |  | 5026 | 3920 | 622 | 215.6156 | 168.1682 | 26.6838 | 6.22
Jun-2017 | 35.8 | 27.6 | 18.4 | 17.2 |  | 5026 | 3920 | 622 | 215.6156 | 168.1682 | 26.6838 | 6.22
Jul-2017 | 26.4 | 15.4 | 18.8 | 16.9 |  | 5226 | 3920 | 622 | 209.9385 | 157.474 | 24.9869 | 6.22
Aug-2017 | 2 | 21.3 | 20.7 | 18.5 |  | 5226 | 4075 | 622 | 209.9385 | 163.7006 | 24.9869 | 6.22
Sep-2017 | 1 | 23.7 | 25.4 | 22.3 |  | 5226 | 4075 | 622 | 216.9365 | 169.1573 | 25.8198 | 6.22
Oct-2017 | 150.4 | 54.6 | 23.5 | 24.1 |  | 5226 | 4075 | 622 | 209.9385 | 163.7006 | 24.9869 | 6.22
Nov-2017 | 26 | 71.2 | 24.2 | 26.5 |  | 5226 | 4075 | 622 | 216.9365 | 169.1573 | 25.8198 | 6.22
Dec-2017 | 104 | 100.8 | 28.3 | 28 |  | 5226 | 4075 | 622 | 209.9385 | 163.7006 | 24.9869 | 6.22
Jan-2018 | 8.6 | 66.4 | 30.8 | 29 |  | 5226 | 4075 | 635 | 209.9385 | 163.7006 | 25.5092 | 6.35
Feb-2018 | 189.8 | 84.9 | 28.2 | 27.4 |  | 5226 | 4075 | 635 | 232.432 | 181.24 | 28.2423 | 6.35
Mar-2018 | 51 | 70.2 | 25.7 | 26.6 |  | 5226 | 4075 | 635 | 209.9385 | 163.7006 | 25.5092 | 6.35
Apr-2018 | 23 | 23 | 24.8 | 23.3 |  | 5226 | 4075 | 635 | 216.9365 | 169.1573 | 26.3595 | 6.35
May-2018 | 7.6 | 27.8 | 20.6 | 19.8 |  | 5226 | 4075 | 635 | 209.9385 | 163.7006 | 25.5092 | 6.35
Jun-2018 | 13.8 | 27.6 | 18 | 17.2 |  | 5226 | 4075 | 635 | 216.9365 | 169.1573 | 26.3595 | 6.35
Jul-2018 | 15.6 | 15.4 | 18.7 | 16.9 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Aug-2018 | 6.6 | 21.3 | 20.1 | 18.5 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Sep-2018 | 16.6 | 23.7 | 22.5 | 22.3 |  | 5226 | 4075 | 635 | 209.1236 | 163.0652 | 25.4102 | 6.35
Oct-2018 | 110 | 54.6 | 23.6 | 24.1 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Nov-2018 | 57.8 | 71.2 | 27.5 | 26.5 |  | 5226 | 4075 | 635 | 209.1236 | 163.0652 | 25.4102 | 6.35
Dec-2018 | 48.8 | 100.8 | 28.5 | 28 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Jan-2019 | 4.8 | 66.4 | 30.8 | 29 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Feb-2019 | 19.4 | 84.9 | 29.7 | 27.4 |  | 5226 | 4075 | 635 | 224.0611 | 174.7127 | 27.2252 | 6.35
Mar-2019 | 199.4 | 70.2 | 28.1 | 26.6 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Apr-2019 | 11.2 | 23 | 23.2 | 23.3 |  | 5226 | 4075 | 635 | 209.1236 | 163.0652 | 25.4102 | 6.35
May-2019 | 21.4 | 27.8 | 20 | 19.8 |  | 5226 | 4075 | 635 | 202.3777 | 157.8051 | 24.5905 | 6.35
Jun-2019 | 13.2 | 27.6 | 17.6 | 17.2 |  | 5226 | 4074 | 644 | 209.1236 | 163.0252 | 25.7703 | 6.44
Jul-2019 | 6.2 | 15.4 | 18.5 | 16.9 |  | 5226 | 4074 | 644 | 198.3302 | 154.611 | 24.4402 | 6.44
Aug-2019 | 5.8 | 21.3 | 19.5 | 18.5 |  | 5316 | 4074 | 644 | 201.7457 | 154.611 | 24.4402 | 6.44
Sep-2019 | 3.6 | 23.7 | 24.4 | 22.3 |  | 5316 | 4074 | 644 | 208.4706 | 159.7647 | 25.2549 | 6.44
Oct-2019 | 20.2 | 54.6 | 26.8 | 24.1 |  | 5316 | 4074 | 644 | 201.7457 | 154.611 | 24.4402 | 6.44
Nov-2019 | 0 | 71.2 | 30.4 | 26.5 |  | 5316 | 4074 | 644 | 208.4706 | 159.7647 | 25.2549 | 6.44
Dec-2019 | 24.8 | 100.8 | 31.7 | 28 |  | 5316 | 4146 | 644 | 201.7457 | 157.3435 | 24.4402 | 6.44
Jan-2020 | 69.8 | 66.4 | 33.4 | 29 |  | 5316 | 4146 | 644 | 201.7457 | 157.3435 | 24.4402 | 6.44
Feb-2020 | 167.2 | 84.9 | 29.3 | 27.4 |  | 5316 | 4146 | 644 | 223.3613 | 174.2017 | 27.0588 | 6.44
Mar-2020 | 27 | 70.2 | 27.5 | 26.6 |  | 5316 | 4146 | 654 | 201.7457 | 157.3435 | 24.8197 | 6.54
Apr-2020 | 15 | 23 | 26.7 | 23.3 |  | 5316 | 4146 | 654 | 208.4706 | 162.5882 | 25.6471 | 6.54
May-2020 | 16.6 | 27.8 | 20.6 | 19.8 |  | 5316 | 4146 | 654 | 201.7457 | 157.3435 | 24.8197 | 6.54
Jun-2020 | 30.6 | 27.6 | 19.5 | 17.2 |  | 5316 | 4146 | 654 | 208.4706 | 162.5882 | 25.6471 | 6.54
Jul-2020 | 40 | 15.4 | 18.3 | 16.9 |  | 5226 | 4075 | 635 | 198.3302 | 154.649 | 24.0987 | 6.35
Aug-2020 | 48.8 | 21.3 | 19.9 | 18.5 |  | 5226 | 4075 | 635 | 198.3302 | 154.649 | 24.0987 | 6.35
Sep-2020 | 8.8 | 23.7 | 23.9 | 22.3 |  | 5226 | 4075 | 635 | 204.9412 | 159.8039 | 24.902 | 6.35
Oct-2020 | 79.6 | 54.6 | 27 | 24.1 |  | 5226 | 4075 | 635 | 198.3302 | 154.649 | 24.0987 | 6.35
Nov-2020 | 0.4 | 71.2 | 31.2 | 26.5 |  | 5226 | 4074 | 644 | 204.9412 | 159.7647 | 25.2549 | 6.44
Dec-2020 | 176.8 | 100.8 | 30 | 28 |  | 5226 | 4074 | 644 | 198.3302 | 154.611 | 24.4402 | 6.44
Jan-2021 | 29 | 66.4 | 33.4 | 29 |  | 5316 | 4074 | 644 | 201.7457 | 154.611 | 24.4402 | 6.44
Feb-2021 | 27.4 | 84.9 | 29.3 | 27.4 |  | 5316 | 4074 | 644 | 223.3613 | 171.1765 | 27.0588 | 6.44
Mar-2021 | 26.6 | 70.2 | 27.5 | 26.6 |  | 5316 | 4146 | 644 | 201.7457 | 157.3435 | 24.4402 | 6.44
Apr-2021 | 23.3 | 23 | 26.7 | 23.3 |  | 5316 | 4146 | 644 | 208.4706 | 162.5882 | 25.2549 | 6.44
May-2021 | 19.8 | 27.8 | 20.6 | 19.8 |  | 5316 | 4146 | 644 | 201.7457 | 157.3435 | 24.4402 | 6.44
Jun-2021 | 17.2 | 27.6 | 19.5 | 17.2 |  | 5316 | 4146 | 654 | 208.4706 | 162.5882 | 25.6471 | 6.54
Jul-2021 | Location and station number Mar: 18.3; Location and station number Apr: 16.9
Aug-2021 | Location and station number Mar: 19.9; Location and station number Apr: 18.5
Sep-2021 | Location and station number Mar: 23.9; Location and station number Apr: 22.3
Oct-2021 | Location and station number Mar: 27; Location and station number Apr: 24.1
Nov-2021 | Location and station number Mar: 31.2; Location and station number Apr: 26.5
Dec-2021 | Location and station number Mar: 30; Location and station number Apr: 28
Jan-2021
Feb-2021
Mar-2021
Apr-2021
May-2021
Jun-2021

## Annual weather data and effect
Title: | Annual weather data and effects
User notes: | Use this page to see how weather impacts on demand. When assessing the impact of weather on demand, note any presence of water restictions and the influence they may also have on demand.
The table below draws annual demand data from the 'SWIM data' sheet, and rainfall data from the 'Monthly weather data and effect' sheet. Enter water restriction information to highlight periods when they may have influenced demand.
When adding 2020-21 rainfall data and beyond make sure rainfall is summed for months in a water year, not calendar year.
Data sources: | BOM Climate data |  | http://www.bom.gov.au/climate/data/
Blue is entered data. | [8 empty] | View Graphics to the right
Black is calculated.
Orange shading is to draw your attention - as per user notes.
| Annual rainfall | Restriction level | Total water sourced | Water supplied: residential | Water supplied: non-residential | Total demand | Residential demand | Non-residential demand | Non-residential demand
| mm |  | ML/a | ML/a | ML/a | L/p/d | L/p/d | L/p/d | kL/conn./yr
2008-09 |  |  | 41.01 | 17.1 | 4 | 170.754 | 71.1996 | 16.6549 | 40
2009-10 | 552.8 |  | 50 | 22.06 | 5 | 206.3047 | 91.0216 | 20.6305 | 50
2010-11 | 1531.6 |  | 54 | 23.1 | 6 | 217.247 | 92.9334 | 24.1386 | 60
2011-12 | 833.6 |  | 49 | 25 | 9 | 185.4234 | 94.6038 | 34.0574 | 90
2012-13 | 1091.8 |  | 52 | 26 | 8 | 192.7818 | 96.3909 | 29.6587 | 80
2013-14 | 494.2 |  | 68 | 27 | 8 | 247.7412 | 98.3678 | 29.146 | 80
2014-15 | 698.4 | 1 | 70 | 30 | 11 | 252.6757 | 108.2896 | 39.7062 | 110
2015-16 | 695 | 2 | 60 | 32 | 12 | 214.0411 | 114.1553 | 42.8082 | 120
2016-17 | 786 | 3 | 76 | 33 | 9 | 267.9784 | 116.359 | 31.7343 | 90
2017-18 | 603.6 |  | 71 | 39 | 9 | 242.2423 | 133.0627 | 30.7068 | 90
2018-19 | 524.8 |  | 89 | 43 | 10 | 292.7198 | 141.4264 | 32.8899 | 100
2019-20 | 386.8 |  | 81.01 | 41 | 10 | 261.112 | 132.1515 | 32.2321 | 100
2020-21 | 680.6 |  | 83.01 | 42 | 9 | 257.5591 | 130.3154 | 27.9247 | 90
2021-22
2022-23
2023-24